## NBC
Loads and Scaling
TABLE: Load Patterns |  |  | LOAD COMBINATIONS | ETABS DESIGNATIONS | DL | LL | EQx ULS | EQy ULS
Name | Type | Self Weight Multiplier | 1.2 DL + 1.5 LL | UDCon1 | 1.2 | 1.5 | 0 | 0
Dead | Dead | 1 | DL + 0.3 LL + EQx ULS | UDCon2 | 1 | 0.3 | 1 | 0
Outer Wall Load | Dead | 0 | DL + 0.3 LL - EQx ULS | UDCon3 | 1 | 0.3 | -1 | 0
Inner Wall Load | Dead | 0 | DL + 0.3 LL + EQy ULS | UDCon4 | 1 | 0.3 | 0 | 1
Parapet Load | Dead | 0 | DL + 0.3 LL - EQy ULS | UDCon5 | 1 | 0.3 | 0 | -1
Floor Finish | Dead | 0 |  |  | 1 | 1 | 0 | 0
Partition Load | Dead | 0
Live Load<=3 | Live | 0
Live Load>3 | Live | 0
Roof Live | Live | 0
Stair Dead | Dead | 0
Eqx ULS | Quake | 0
EQy ULS | Quake | 0
Eqx SLS | Quake | 0
EQy SLS | Quake | 0

## IS
Loads and Scaling
TABLE: Load Patterns |  |  | LOAD COMBINATIONS | ETABS DESIGNATIONS | DL | LL | EQx | EQy
Name | Type | Self Weight Multiplier | i. 1.5 (DL) | UDCon1 | 1.5 | 0 | 0 | 0
Dead | Dead | 1 | ii. 1.5 (DL + LL) | UDCon2 | 1.5 | 1 | 0 | 0
Outer Wall Load | Dead | 0 | iii. 1.2 (DL + LL + EQx) | UDCon3 | 1.2 | 1 | 1 | 0
Inner Wall Load | Dead | 0 | iv. 1.2 (DL + LL - EQx) | UDCon4 | 1.2 | 1 | -1 | 0
Parapet Load | Dead | 0 | v. 1.2 (DL + LL + EQy) | UDCon5 | 1.2 | 1 | 0 | 1
Floor Finish | Dead | 0 | vi. 1.2 (DL + LL – EQy) | UDCon6 | 1.2 | 1 | 0 | -1
Partition Load | Dead | 0 | vii. 1.5 (DL + EQx) | UDCon7 | 1.5 | 0 | 1 | 0
Live Load<=3 | Live | 0 | viii. 1.5 (DL - EQx) | UDCon8 | 1.5 | 0 | -1 | 0
Live Load>3 | Live | 0 | ix. 1.5 (DL + EQy) | UDCon9 | 1.5 | 0 | 0 | 1
Roof Live | Live | 0 | x. 1.5 (DL - EQy) | UDCon10 | 1.5 | 0 | 0 | -1
Stair Dead | Dead | 0 | xi. 0.9DL + 1.5EQx | UDCon11 | 0.9 | 0 | 1.5 | 0
EQx | Seismic | 0 | xii. 0.9DL - 1.5EQx | UDCon12 | 0.9 | 0 | -1.5 | 0
EQy | Seismic | 0 | xiii. 0.9DL + 1.5EQy | UDCon13 | 0.9 | 0 | 0 | 1.5
|  |  | xiv. 0.9DL - 1.5EQy | UDCon14 | 0.9 | 0 | 0 | -1.5
[5 empty] | 1 | 1 | 0 | 0

## Modelling
1
2 |  | General Information | [6 empty] | Is ETABS already opened? | Properties | Row Number |  |  |  |  | Type of Building | Structural System | Soil Types | Types of Foundations | Height of Storey |  | Units/Values |  |  | Grades of Concrete | Grades of Steel | Boolean Expression | X Spacing | Y Spacing | Material | Region | Standard | Grade | Grades | Grades 1
3 |  | Client Name | Nolaraj Poudel | [5 empty] | True | General Information | 3 |  |  |  |  | Residential | Steel Moment Resisting Frame System | Stiff or Hard Soil Sites | Isolated | 1 | 0 | lb_in_F | 1 |  | M10 | Fe250 | TRUE | 5 | 5 | Concrete | India | Indian | M15 | Mild Grade 250 | Mild250
4 |  | Building Type | Residential | [5 empty] | Lock the Model? | Grid Data | 25 |  |  |  |  | Commertial | Reinforced Concrete Moment Resisting Frame System | Medium Soil Sites | Sloping Isolated | 2 | 1 | lb_ft_F | 2 |  | M15 | Fe415 | FALSE | 5 | 5 | Rebar | China | User | M20 | HYSD Grade 415 | HYSD415
5 |  | Location | Pokhara-19, Lamachaur, Nepal | [5 empty] | False | Materials Definition | 42 |  |  |  |  | Industrial | Steel + RC Composite Moment Resisting Frame System | Soft Soil Sites | Stepped Isolated | 3 | 2 | kip_in_F | 3 |  | M20 | Fe500 |  | 5 | 5 |  | Korea |  | M25 | HYSD Grade 500 | HYSD500
6 |  | Total Land Area | 4853.01 sq. ft. | [5 empty] | Charts needed to place below(True)/Alongside(False)? | Frame Section Definition | 63 |  |  |  |  | Storage Facility | Steel Eccentrically Braced Frame Systems | Very Soft Soil Sites | Isolated with Strap beams | 4 | 3 | kip_ft_F | 4 |  | M25 | Fe550 |  | 5 | 5 |  | United States |  | M30 | HYSD Grade 550 | HYSD550
7 |  | Plinth Area | 1048.67 sq. ft. | [5 empty] | True | Load Patterns | 113 | [5 empty] | Steel + RC Composite Braced Frame Systems |  | Combined Footing | 5 | 4 | kN_mm_C | 5 |  | M30 |  |  | 5 | 5 |  | New Zealand |  | M35
8 |  | Structural system | Special Moment Resisting Frame structure | [6 empty] | Load Combinations | 130 | [5 empty] | Steel Concentric Braced Frame Systems |  |  | 6 | 5 | kN_m_C | 6 |  | M35 |  |  | 7 | 10 |  | Spain |  | M40
9 |  | Soil type | Soft Soil Sites | [6 empty] | IS Code Combo | 151 | [5 empty] | Steel + RC Composite Concentric Braced Frame Systems |  |  | 7 | 6 | kgf_mm_C | 7 |  | M40 |  |  | 8 | 11 |  | Russia |  | M45
10 |  | Seismic zone | Zone V | [6 empty] | NBC Combo | 211 | [5 empty] | Steel Buckling Restraint Braces |  |  | 8 | 7 | kgf_m_C | 8 |  | M45 |  |  | 9 | 5 |  | Europe |  | M50
11 |  | Bearing Capacity | 150 | [6 empty] | Frame Joints | 260 | [5 empty] | RC Shear Wall |  |  | 9 | 8 | N_mm_C | 9 |  | M50 |  |  | 10 | 5 |  | Vietnam |  | M55
12 |  | Foundation | Isolated with Strap beams | [6 empty] | Loading Assignment | 237 | [5 empty] | Steel + RC Composite Shear Wall |  |  | 10 | 9 | N_m_C | 10 |  | M55 | [7 empty] | M60
13 |  | Number of storey | 7 | [6 empty] | Column Definition | 63 | [5 empty] | Reinforced Masonry shear wall |  |  | 11 | 10 | Ton_mm_C | 11 |  | M60
14 |  | Ground storey height | 9 | 4 | 3 | 3 |  |  |  | Beam Definition | 92 | [5 empty] | Confined Masonry Wall |  |  | 12 | 11 | Ton_m_C | 12
15 |  | Floor to floor height | 9 | 4 | 3 | 3 |  |  |  | Slab Definition | 106 | [5 empty] | Unreinforced Masonry wall building with horizontal bands and vertical reinforcements bars at critical location |  |  | 13 | 12 | kN_cm_C | 13
16 |  | Width of outer walls | 0 | 9 | 0 | 0.2286 |  |  |  | Column Section Assignment | 82 | [5 empty] | Steel Eccentrically Braced Frame Systems |  |  | 14 |  | kgf_cm_C | 14
17 |  | Width of inner walls | 0 | 6 | 0 | 0.1524 | [10 empty] | Steel + RC Composite Braced Frame Systems |  |  | 15 |  | N_cm_C | 15
18 |  | Height of Parepet Wall | 1
19 |  | Floor Finish Load | 1.5
20 |  | Live Load<=3 | 2
21 |  | Live Load>3 | 0
22 |  | Roof Live | 1.5
23 |  | Stair Dead | 3
24 | [16 empty] | Steel Concentric Braced Frame Systems |  |  | 16 |  | Ton_cm_C | 16
25 |  | Number of bays along X axis | 5 | [9 empty] | Angle Deviation | Additional Inner Grids |  |  | Steel + RC Composite Concentric Braced Frame Systems |  |  | 17
26 |  | Number of bays along Y axis | 2 | [9 empty] | 15 | 0 |  |  | Steel Buckling Restraint Braces |  |  | 18
27 |  |  | First Spacing | Second Spacing | Third Spacing | Forth Spacing | Fifth Spacing | Sixth Spacing | Seventh Spacing | Eighth Spacing | Ninth Spacing |  | 30 | 2
28 |  | Spacing of bays along X axis | 5 | 5 | 5 | 5 | 5 | 7 | 8 | 9 | 10 |  | 45 | 3 |  |  | RC Shear Wall |  |  | 19
29 |  | Spacing of bays along Y axis | 5 | 5 | 5 | 5 | 5 | 10 | 11 | 5 | 5 |  | 60 | 4 |  |  | Steel + RC Composite Shear Wall |  |  | 20
30 |  | Inclined Bay Index | 3 | Value of Inclination(Degree) | 50 | Inclination Increment | 0 | End Inclination Angle | 0 | End Joint have same abcissa value as of Original? | FALSE |  | 70 | 5
31 |  | Defining Unit | N_mm_C | 9 | [8 empty] | 80 | 6
32 |  | Modelling Unit | kN_m_C | 6
33 |  | Design Code | IS
34
35
36
37
38 |  | Materials Definition |  |  |  |  | Material Type
39 |  | Concrete Definition | Auto Defining |  |  | Concrete | 2
40 |  | Auto Defining |  |  |  | Rebar | 6
41 |  | Name of Material | Material Type | Region | Standard | Grade
42 |  | M20 | 2 | India | Indian | M20
43
44 |  | Manual Input |  |  |  | Shear Strength Reduction Factor if LightWeight | Non Linear Material Data |  |  |  | Optional
45 |  | Name of Material | Material Type | Fc | Is Light weight? | FcsFactor | SSType | SSHysType | StrainAtFc | StrainUltimate | Friction Angle | DilatationalAngle | Temp
46 | Defaults | M20 | Concrete | 20 | FALSE | 0 | 1 | 2 | 0.0022 | 0.0052 | -0.1 | 0 | 0
47 | Input Value | M30 | 2 | 30 | FALSE | 0 | 1 | 2 | 0.0022 | 0.0052 | -0.1 | 0 | 0
48
49 |  | Rebar Definition | Auto Defining
50 |  | Auto Defining
51 |  | Name of Material | Material Type | Region | Standard | Grade
52 |  | HYSD Grade 415 | 6 | India | Indian | HYSD Grade 415
53
54 |  | Manual Input
55 |  | Name of Material | Material Type | Fy | Fu | Efy | Efu | SSType | SSHysType | StrainAtHardening | StrainUltimate | UseCaltransSSDefaults | Temp
56 | Defaults | HYSD Grade 415 | Rebar | 415 | 485 For Fe415 | 466.5 | 533.5 | 1 | 2 | 0.02 | 0.12 | TRUE | 0
57 | Input Value | HYSD Grade 415 | 6 | 415 | 485 | 466.5 | 533.5 | 1 | 2 | 0.02 | 0.12 | TRUE | 0
58
59 |  | Frame Section Definition |  | Provide all sizes in mm
60 |  | Column Definition | Type | Rectangular | Numbers of Sections | 6 | Name of Longitudinal Rebar Property | 1..2 | 1.Ties 2.Spiral | 40mm | Total Number of L bars | L bars including corners and central in a face | L bars including corners and central in a face
61 |  | Section Name | Material Name | Depth | Width | MatPropLong | MatPropConfine | Pattern | ConfineType | Cover | NumberCBars | NumberR3Bars | NumberR2Bars | RebarSize | TieSize | TieSpacingLongit | Number2DirTieBars | Number3DirTieBars | ToBeDesigned
62 | Defaults | Column 550*550 | M20 | 550 | 550 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 20 | 8 | 150 | 2 | 2 | FALSE
63 | Input Value | Column 550*550 | M20 | 550 | 550 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 20 | 8 | 150 | 2 | 2 | FALSE
64
65 | Defaults | Column 500*500 | M20 | 500 | 500 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 26 | 8 | 150 | 2 | 2 | FALSE
66 | Input Value | Column 500*500 | M20 | 500 | 500 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 26 | 8 | 150 | 2 | 2 | FALSE
67
68 | Defaults | Column 450*450 | M20 | 450 | 450 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 20 | 8 | 150 | 2 | 2 | FALSE
69 | Input Value | Column 450*450 | M20 | 450 | 450 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 20 | 8 | 150 | 2 | 2 | FALSE
70
71 | Defaults | Column 400*400 | M20 | 400 | 400 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 16 | 8 | 150 | 2 | 2 | FALSE
72 | Input Value | Column 400*400 | M20 | 400 | 400 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 16 | 8 | 150 | 2 | 2 | FALSE
73
74 | Defaults | Column 350*350 | M20 | 350 | 350 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 20 | 8 | 150 | 2 | 2 | FALSE
75 | Input Value | Column 350*350 | M20 | 350 | 350 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 20 | 8 | 150 | 2 | 2 | FALSE
76
77 | Defaults | Column 300*300 | M20 | 300 | 300 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 20 | 8 | 150 | 2 | 2 | FALSE
78 | Input Value | Column 300*300 | M20 | 300 | 300 | HYSD415 | HYSD415 | 1 | 1 | 40 | 12 | 4 | 4 | 20 | 8 | 150 | 2 | 2 | FALSE
79
80 |  | Columns Section Assignment Based on Floor
81 |  | Name | Floors (1 Denoting the base floor)
82 |  | Column 550*550
83 |  | Column 500*500 | 1 | 2
84 |  | Column 450*450 | 3 | 4
85 |  | Column 400*400 | 5 | 6 | 7
86 |  | Column 350*350
87 |  | Column 300*300
88
89 |  | Beam Definition | Type | Rectangular | Numbers of Sections | 4 | Name of Longitudinal Rebar Property | 25mm | Total Number of L bars | L bars including corners and central in a face | L bars including corners and central in a face
90 |  | Section Name | Material Name | Depth | Width | MatPropLong | MatPropConfine | CoverTop | CoverBot | TopLeftArea | TopRightArea | BotLeftArea | BotRightArea
91 | Defaults | Beam 450*300 | M20 | 450 | 300 | HYSD415 | HYSD415 | 25 | 25 | 0 | 0 | 0 | 0
92 | Input Value | Beam 450*300 | M20 | 450 | 300 | HYSD415 | HYSD415 | 25 | 25 | 0 | 0 | 0 | 0
93
94 | Defaults | Beam 450*300 | M20 | 450 | 300 | HYSD415 | HYSD415 | 25 | 25 | 0 | 0 | 0 | 0
95 | Input Value | Beam 450*300 | M20 | 450 | 300 | HYSD415 | HYSD415 | 25 | 25 | 0 | 0 | 0 | 0
96
97 | Defaults | Beam 450*300 | M20 | 450 | 300 | HYSD415 | HYSD415 | 25 | 25 | 0 | 0 | 0 | 0
98 | Input Value | Beam 450*300 | M20 | 450 | 300 | HYSD415 | HYSD415 | 25 | 25 | 0 | 0 | 0 | 0
99
100 | Defaults | Beam 450*300 | M20 | 450 | 300 | HYSD415 | HYSD415 | 25 | 25 | 0 | 0 | 0 | 0
101 | Input Value | Beam 450*300 | M20 | 450 | 300 | HYSD415 | HYSD415 | 25 | 25 | 0 | 0 | 0 | 0
102
103 |  | Slab Definition | Slab 0, Drop 1 | ShellThin 1, ShellThick 2 , Membrane 3 , PlateThin_DO_NOT_USE 4 , PlateThick_DO_NOT_USE 5 , Layered 6 |  | Thickness in mm
104 |  | Section Name | SlabType | ShellType | MatProp | Thickness
105 | Defaults | Slab 125 | 0 | 1 | M20 | 125
106 | Input Value | Slab 125 | 0 | 1 | M20 | 125
107
108
109
110 |  | Load Definition
111 |  | Load Patterns
112 |  | Name | Value | Self Weight Multiplier
113 |  | Dead | 1 | 1
114 |  | Outer Wall Load | 1 | 0
115 |  | Inner Wall Load | 1 | 0
116 |  | Parapet Load | 1 | 0
117 |  | Floor Finish | 1 | 0
118 |  | Partition Load | 1 | 0
119 |  | Live Load<=3 | 3 | 0
120 |  | Live Load>3 | 3 | 0
121 |  | Roof Live | 3 | 0
122 |  | Stair Dead | 1 | 0
123 |  | EQx ULS | 5 | 0
124 |  | EQy ULS | 5 | 0
125 |  | EQx SLS | 5 | 0
126 |  | EQy SLS | 5 | 0
127
128 |  | Load Cases
129 |  | Name | ComboType | CNameType | CName | SF
130 | 1 | Lives | 0 | 0 | Live Load<=3 | 1
131 |  |  |  | 0 | Live Load>3 | 1
132 |  |  |  | 0 | Roof Live | 1
133
134 |  | Name | ComboType | CNameType | CName | SF
135 | 2 | Deads | 0 | 0 | Dead | 1
136 |  |  |  | 0 | Outer Wall Load | 1
137 |  |  |  | 0 | Inner Wall Load | 1
138 |  |  |  | 0 | Parapet Load | 1
139 |  |  |  | 0 | Floor Finish | 1
140 |  |  |  | 0 | Partition Load | 1
141 |  |  |  | 0 | Stair Dead | 1
142
143
144 |  | Load Combinations | 0 = Linear Additive | 0=Load Case, 1=Load Combo |  | Scale Factor
145 |  | Name | ComboType | CNameType | CName | SF
146 | 1 | Footing Combo | 0 | 1 | Lives | 1
147 |  |  |  | 1 | Deads | 1
148
149 |  | IS
150 |  | Name | ComboType | CNameType | CName | SF
151 | 1 | 1.5 (DL) | 0 | 1 | Deads | 1.5
152
153 |  | Name | ComboType | CNameType | CName | SF
154 | 2 | 1.5 (DL + LL) | 0 | 1 | Lives | 1.5
155 |  |  |  | 1 | Deads | 1.5
156
157 |  | Name | ComboType | CNameType | CName | SF
158 | 3 | 1.2 (DL + LL + EQx) | 0 | 1 | Lives | 1.2
159 |  |  |  | 1 | Deads | 1.2
160 |  |  |  | 1 | EQx ULS | 1.2
161
162 |  | Name | ComboType | CNameType | CName | SF
163 | 4 | 1.2 (DL + LL - EQx) | 0 | 1 | Lives | 1.2
164 |  |  |  | 1 | Deads | 1.2
165 |  |  |  | 1 | EQx ULS | -1.2
166
167 |  | Name | ComboType | CNameType | CName | SF
168 | 5 | 1.2 (DL + LL + EQy) | 0 | 1 | Lives | 1.2
169 |  |  |  | 1 | Deads | 1.2
170 |  |  |  | 1 | EQy ULS | 1.2
171
172 |  | Name | ComboType | CNameType | CName | SF
173 | 6 | 1.2 (DL + LL – EQy) | 0 | 1 | Lives | 1.2
174 |  |  |  | 1 | Deads | 1.2
175 |  |  |  | 1 | EQy ULS | -1.2
176
177 |  | Name | ComboType | CNameType | CName | SF
178 | 7 | 1.5 (DL + EQx) | 0 | 1 | Deads | 1.5
179 |  |  |  | 1 | EQx ULS | 1.5
180
181 |  | Name | ComboType | CNameType | CName | SF
182 | 8 | 1.5 (DL - EQx) | 0 | 1 | Deads | 1.5
183 |  |  |  | 1 | EQx ULS | -1.5
184
185 |  | Name | ComboType | CNameType | CName | SF
186 | 9 | 1.5 (DL + EQy) | 0 | 1 | Deads | 1.5
187 |  |  |  | 1 | EQy ULS | 1.5
188
189 |  | Name | ComboType | CNameType | CName | SF
190 | 10 | 1.5 (DL - EQy) | 0 | 1 | Deads | 1.5
191 |  |  |  | 1 | EQy ULS | -1.5
192
193 |  | Name | ComboType | CNameType | CName | SF
194 | 11 | 0.9DL + 1.5EQx | 0 | 1 | Deads | 0.9
195 |  |  |  | 1 | EQx ULS | 1.5
196
197 |  | Name | ComboType | CNameType | CName | SF
198 | 12 | 0.9DL - 1.5EQx | 0 | 1 | Deads | 0.9
199 |  |  |  | 1 | EQx ULS | -1.5
200
201 |  | Name | ComboType | CNameType | CName | SF
202 | 13 | 0.9DL + 1.5EQy | 0 | 1 | Deads | 0.9
203 |  |  |  | 1 | EQy ULS | 1.5
204
205 |  | Name | ComboType | CNameType | CName | SF
206 | 14 | 0.9DL - 1.5EQy | 0 | 1 | Deads | 0.9
207 |  |  |  | 1 | EQy ULS | -1.5
208
209 |  | NBC
210 |  | Name | ComboType | CNameType | CName | SF
211 | 1 | 1.2 DL + 1.5 LL | 0 | 1 | Deads | 1.2
212 |  |  |  | 1 | Lives | 1.5
213
214 |  | Name | ComboType | CNameType | CName | SF
215 | 2 | DL + 0.3 LL + EQx ULS | 0 | 1 | Lives | 1
216 |  |  |  | 1 | Deads | 0.3
217 |  |  |  | 1 | EQx ULS | 1
218
219 |  | Name | ComboType | CNameType | CName | SF
220 | 3 | DL + 0.3 LL - EQx ULS | 0 | 1 | Lives | 1
221 |  |  |  | 1 | Deads | 0.3 |  | Indexing Joints in Plan of Floors
222 |  |  |  | 1 | EQx ULS | -1 |  |  | First Digit Floor Number | Second Digit= Row | Third Digit = Column
223 | [7 empty] | 1101 | 1102 | 1103 | 1104 | 1105 | 1106 | 1107 | 1108 | 1109 | 11010
224 |  | Name | ComboType | CNameType | CName | SF |  | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 1910
225 | 4 | DL + 0.3 LL + EQy ULS | 0 | 1 | Lives | 1 |  | 181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 1810
226 |  |  |  | 1 | Deads | 0.3 |  | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 1710
227 |  |  |  | 1 | EQy ULS | 1 |  | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 1610
228 | [7 empty] | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 1510
229 |  | Name | ComboType | CNameType | CName | SF |  | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 1410
230 | 5 | DL + 0.3 LL - EQy ULS | 0 | 1 | Lives | 1 |  | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 1310
231 |  |  |  | 1 | Deads | 0.3 |  | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 1210
232 |  |  |  | 1 | EQy ULS | -1 |  | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 1110
233 | bar: Third Digit = Column 1109 199 189 179 169 159 149 139 129 119 to Third Digit = Column 1109 1910 1810 1710 1610 1510 1410 1310 1210 1110
234 |  | Load Assignment
235 |  | Load Patterns | [5 empty] | 1101 191 181 171 161 151 141 131 121 111: A8; First Digit Floor Number 1102 192 182 172 162 152 142 132 122 112: B8; Second Digit= Row 1103 193 183 173 163 153 143 133 123 113: C8; Third Digit = Column 1104 194 184 174 164 154 144 134 124 114: D8
236 |  | Name | Magnitude |  |  |  |  | 1101 191 181 171 161 151 141 131 121 111: A7; First Digit Floor Number 1102 192 182 172 162 152 142 132 122 112: B7; Second Digit= Row 1103 193 183 173 163 153 143 133 123 113: C7; Third Digit = Column 1104 194 184 174 164 154 144 134 124 114: D7
237 |  | Outer Wall Load | 11.0757 |  |  |  |  | 1101 191 181 171 161 151 141 131 121 111: A6; First Digit Floor Number 1102 192 182 172 162 152 142 132 122 112: B6; Second Digit= Row 1103 193 183 173 163 153 143 133 123 113: C6; Third Digit = Column 1104 194 184 174 164 154 144 134 124 114: D6
238 |  | Inner Wall Load | 7.3838 |  |  |  |  | 1101 191 181 171 161 151 141 131 121 111: A5; First Digit Floor Number 1102 192 182 172 162 152 142 132 122 112: B5; Second Digit= Row 1103 193 183 173 163 153 143 133 123 113: C5; Third Digit = Column 1104 194 184 174 164 154 144 134 124 114: D5
239 |  | Parapet Load | 2.8956 |  |  |  |  | 1101 191 181 171 161 151 141 131 121 111: A4; First Digit Floor Number 1102 192 182 172 162 152 142 132 122 112: B4; Second Digit= Row 1103 193 183 173 163 153 143 133 123 113: C4; Third Digit = Column 1104 194 184 174 164 154 144 134 124 114: D4
240 |  | Floor Finish | 1.5 |  |  |  |  | 1101 191 181 171 161 151 141 131 121 111: A3; First Digit Floor Number 1102 192 182 172 162 152 142 132 122 112: B3; Second Digit= Row 1103 193 183 173 163 153 143 133 123 113: C3; Third Digit = Column 1104 194 184 174 164 154 144 134 124 114: D3
241 |  | Partition Load | 2 |  |  |  |  | 1101 191 181 171 161 151 141 131 121 111: A2; First Digit Floor Number 1102 192 182 172 162 152 142 132 122 112: B2; Second Digit= Row 1103 193 183 173 163 153 143 133 123 113: C2; Third Digit = Column 1104 194 184 174 164 154 144 134 124 114: D2
242 |  | Live Load<=3 | 2 |  |  |  |  | 1101 191 181 171 161 151 141 131 121 111: A1; First Digit Floor Number 1102 192 182 172 162 152 142 132 122 112: B1; Second Digit= Row 1103 193 183 173 163 153 143 133 123 113: C1; Third Digit = Column 1104 194 184 174 164 154 144 134 124 114: D1
243 |  | Live Load>3 | 0
244 |  | Roof Live | 1.5
245 |  | Stair Dead | 3
246 | bar: Third Digit = Column 1109 199 189 179 169 159 149 139 129 119 to Third Digit = Column 1109 1910 1810 1710 1610 1510 1410 1310 1210 1110
247 |  | Angle(α) | 30 | [26 empty] | Angle Deviation Schedule |  |  |  |  | Angles converted to radians
248 |  | Sin(α) | 0.5 | [26 empty] | Angle Deviation | 15 | 30 | 45 | 60 | 15 | 30 | 45 | 60
249 |  | Cos(α) | 0.86603 | [18 empty] | 1 | 2 | 3 | 4 | 5 | 6 |  |  | Additional Inner Grids | 0 | 2 | 3 | 4 | 0 | 2 | 3 | 4 |  | 27.3205
250 |  | tan(α) | 0.57735 | [16 empty] | Angle Deviation | Additional Inner Grids | Add. First Grid | Add. Second Grid | Add. Third Grid | Add. Forth Grid | Add. Fifth Grid |  |  | 1 | Additional First Grid Deviation |  | 10 | 11.25 | 12 | 0 | 0.17453 | 0.19635 | 0.20944 | First grid syn | 36.8468
251 | [19 empty] | 15 | 0 | 15 | 30 | 45 | 60 | 75 | 90 |  | 2 | Additional Second Grid Deviation |  | 20 | 22.5 | 24 | 0 | 0.34907 | 0.3927 | 0.41888 | Second grid syn | 27.3205
252 | [19 empty] | 30 | 2 | 10 | 20 | 30 | 40 | 50 | 60 |  | 3 | Additional Third Grid Deviation |  | 30 | 33.75 | 36 | 0 | 0.5236 | 0.58905 | 0.62832 | Third grid syn | 18.6603
253 | [19 empty] | 45 | 3 | 11.25 | 22.5 | 33.75 | 45 | 56.25 | 67.5 |  | 4 | Additional Forth Grid Deviation |  | 40 | 45 | 48 | 0 | 0.69813 | 0.7854 | 0.83776 | Forth grid syn | 14.3301
254 | [19 empty] | 60 | 4 | 12 | 24 | 36 | 48 | 60 | 72 |  | 5 | Additional Fifth Grid Deviation |  | 50 | 56.25 | 60 | 0 | 0.87266 | 0.98175 | 1.0472 | Fifth grid syn | 10
255 | [19 empty] | 70 | 5 | 11.6667 | 23.3333 | 35 | 46.6667 | 58.3333 | 70 |  | 6 | Additional Sixth Grid Deviation |  | 60 | 67.5 | 72 | 0 | 1.0472 | 1.1781 | 1.2566 | Sixth Grid | 10
256 | [19 empty] | 80 | 6 | 11.4286 | 22.8571 | 34.2857 | 45.7143 | 57.1429 | 68.5714
257 |  | Frame Joints Co-Ordinates | [8 empty] | 10 | 0
258 | 1 | Ground Floor Level |  | Elevation | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 1 | 0 |  |  | 1 | 60: 0; 24: 1; 36: 0; 72: 1 | 0 |  |  | 1 | 0 |  |  | 1 | 0 |  |  | 1 | 0
259 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
260 |  | 111 | 0 | 0 | 0 | 112 | 5 | 0 | 0 | 113 | 10 | 0 | 0 | 114 | 10 | 0 | 0 | 115 | 14.3301 | -2.5 | 0 | 116 | 18.6603 | -5 | 0 | 117 | 27.3205 | -10 | 0 | 118 | 36.8468 | -15.5 | 0 | 119 | 41.1769 | -18 | 0 | 1110 | 41.1769 | -20.5 | 0
261 |  | 121 | 0 | 5 | 0 | 122 | 5 | 5 | 0 | 123 | 10 | 5 | 0 | 124 | 12.5 | 4.3301 | 0 | 125 | 16.8301 | 1.8301 | 0 | 126 | 21.1603 | -0.66987 | 0 | 127 | 29.8205 | -5.6699 | 0 | 128 | 39.3468 | -11.1699 | 0 | 129 | 43.6769 | -13.6699 | 0 | 1210 | 48.007 | -16.1699 | 0
262 |  | 131 | 0 | 10 | 0 | 132 | 5 | 10 | 0 | 133 | 10 | 10 | 0 | 134 | 15 | 8.6603 | 0 | 135 | 19.3301 | 6.1603 | 0 | 136 | 23.6603 | 3.6603 | 0 | 137 | 32.3205 | -1.3397 | 0 | 138 | 41.8468 | -6.8397 | 0 | 139 | 46.1769 | -9.3397 | 0 | 1310 | 50.507 | -11.8397 | 0
263 |  | 141 | 0 | 15 | 0 | 142 | 5 | 15 | 0 | 143 | 10 | 15 | 0 | 144 | 17.5 | 12.9904 | 0 | 145 | 21.8301 | 10.4904 | 0 | 146 | 26.1603 | 7.9904 | 0 | 147 | 34.8205 | 2.9904 | 0 | 148 | 44.3468 | -2.5096 | 0 | 149 | 48.6769 | -5.0096 | 0 | 1410 | 53.007 | -7.5096 | 0
264 |  | 151 | 0 | 20 | 0 | 152 | 5 | 20 | 0 | 153 | 10 | 20 | 0 | 154 | 20 | 17.3205 | 0 | 155 | 24.3301 | 14.8205 | 0 | 156 | 28.6603 | 12.3205 | 0 | 157 | 37.3205 | 7.3205 | 0 | 158 | 46.8468 | 1.8205 | 0 | 159 | 51.1769 | -0.67949 | 0 | 1510 | 55.507 | -3.1795 | 0
265 |  | 161 | 0 | 25 | 0 | 162 | 5 | 25 | 0 | 163 | 10 | 25 | 0 | 164 | 22.5 | 21.6506 | 0 | 165 | 26.8301 | 19.1506 | 0 | 166 | 31.1603 | 16.6506 | 0 | 167 | 39.8205 | 11.6506 | 0 | 168 | 49.3468 | 6.1506 | 0 | 169 | 53.6769 | 3.6506 | 0 | 1610 | 58.007 | 1.1506 | 0
266 |  | 171 | 0 | 35 | 0 | 172 | 5 | 35 | 0 | 173 | 10 | 35 | 0 | 174 | 27.5 | 30.3109 | 0 | 175 | 31.8301 | 27.8109 | 0 | 176 | 36.1603 | 25.3109 | 0 | 177 | 44.8205 | 20.3109 | 0 | 178 | 54.3468 | 14.8109 | 0 | 179 | 58.6769 | 12.3109 | 0 | 1710 | 63.007 | 9.8109 | 0
267 |  | 181 | 0 | 46 | 0 | 182 | 5 | 46 | 0 | 183 | 10 | 46 | 0 | 184 | 33 | 39.8372 | 0 | 185 | 37.3301 | 37.3372 | 0 | 186 | 41.6603 | 34.8372 | 0 | 187 | 50.3205 | 29.8372 | 0 | 188 | 59.8468 | 24.3372 | 0 | 189 | 64.1769 | 21.8372 | 0 | 1810 | 68.507 | 19.3372 | 0
268 |  | 191 | 0 | 51 | 0 | 192 | 5 | 51 | 0 | 193 | 10 | 51 | 0 | 194 | 35.5 | 44.1673 | 0 | 195 | 39.8301 | 41.6673 | 0 | 196 | 44.1603 | 39.1673 | 0 | 197 | 52.8205 | 34.1673 | 0 | 198 | 62.3468 | 28.6673 | 0 | 199 | 66.6769 | 26.1673 | 0 | 1910 | 71.007 | 23.6673 | 0
269 |  | 1101 | 0 | 56 | 0 | 1102 | 5 | 56 | 0 | 1103 | 10 | 56 | 0 | 1104 | 38 | 48.4974 | 0 | 1105 | 42.3301 | 45.9974 | 0 | 1106 | 46.6603 | 43.4974 | 0 | 1107 | 55.3205 | 38.4974 | 0 | 1108 | 64.8468 | 32.9974 | 0 | 1109 | 69.1769 | 30.4974 | 0 | 11010 | 73.507 | 27.9974 | 0
270
271 | 2 | Second Floor Level |  | Elevation | 3
272 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
273 |  | 211 | 0 | 0 | 3 | 212 | 5 | 0 | 3 | 213 | 10 | 0 | 3 | 214 | 10 | 0 | 3 | 215 | 14.3301 | -2.5 | 3 | 216 | 18.6603 | -5 | 3 | 217 | 27.3205 | -10 | 3 | 218 | 36.8468 | -15.5 | 3 | 219 | 41.1769 | -18 | 3 | 210 | 41.1769 | -20.5 | 3
274 |  | 221 | 0 | 5 | 3 | 222 | 5 | 5 | 3 | 223 | 10 | 5 | 3 | 224 | 12.5 | 4.3301 | 3 | 225 | 16.8301 | 1.8301 | 3 | 226 | 21.1603 | -0.66987 | 3 | 227 | 29.8205 | -5.6699 | 3 | 228 | 39.3468 | -11.1699 | 3 | 229 | 43.6769 | -13.6699 | 3 | 210 | 48.007 | -16.1699 | 3
275 |  | 231 | 0 | 10 | 3 | 232 | 5 | 10 | 3 | 233 | 10 | 10 | 3 | 234 | 15 | 8.6603 | 3 | 235 | 19.3301 | 6.1603 | 3 | 236 | 23.6603 | 3.6603 | 3 | 237 | 32.3205 | -1.3397 | 3 | 238 | 41.8468 | -6.8397 | 3 | 239 | 46.1769 | -9.3397 | 3 | 210 | 50.507 | -11.8397 | 3
276 |  | 241 | 0 | 15 | 3 | 242 | 5 | 15 | 3 | 243 | 10 | 15 | 3 | 244 | 17.5 | 12.9904 | 3 | 245 | 21.8301 | 10.4904 | 3 | 246 | 26.1603 | 7.9904 | 3 | 247 | 34.8205 | 2.9904 | 3 | 248 | 44.3468 | -2.5096 | 3 | 249 | 48.6769 | -5.0096 | 3 | 210 | 53.007 | -7.5096 | 3
277 |  | 251 | 0 | 20 | 3 | 252 | 5 | 20 | 3 | 253 | 10 | 20 | 3 | 254 | 20 | 17.3205 | 3 | 255 | 24.3301 | 14.8205 | 3 | 256 | 28.6603 | 12.3205 | 3 | 257 | 37.3205 | 7.3205 | 3 | 258 | 46.8468 | 1.8205 | 3 | 259 | 51.1769 | -0.67949 | 3 | 210 | 55.507 | -3.1795 | 3
278 |  | 261 | 0 | 25 | 3 | 262 | 5 | 25 | 3 | 263 | 10 | 25 | 3 | 264 | 22.5 | 21.6506 | 3 | 265 | 26.8301 | 19.1506 | 3 | 266 | 31.1603 | 16.6506 | 3 | 267 | 39.8205 | 11.6506 | 3 | 268 | 49.3468 | 6.1506 | 3 | 269 | 53.6769 | 3.6506 | 3 | 210 | 58.007 | 1.1506 | 3
279 |  | 271 | 0 | 35 | 3 | 272 | 5 | 35 | 3 | 273 | 10 | 35 | 3 | 274 | 27.5 | 30.3109 | 3 | 275 | 31.8301 | 27.8109 | 3 | 276 | 36.1603 | 25.3109 | 3 | 277 | 44.8205 | 20.3109 | 3 | 278 | 54.3468 | 14.8109 | 3 | 279 | 58.6769 | 12.3109 | 3 | 210 | 63.007 | 9.8109 | 3
280 |  | 281 | 0 | 46 | 3 | 282 | 5 | 46 | 3 | 283 | 10 | 46 | 3 | 284 | 33 | 39.8372 | 3 | 285 | 37.3301 | 37.3372 | 3 | 286 | 41.6603 | 34.8372 | 3 | 287 | 50.3205 | 29.8372 | 3 | 288 | 59.8468 | 24.3372 | 3 | 289 | 64.1769 | 21.8372 | 3 | 210 | 68.507 | 19.3372 | 3
281 |  | 291 | 0 | 51 | 3 | 292 | 5 | 51 | 3 | 293 | 10 | 51 | 3 | 294 | 35.5 | 44.1673 | 3 | 295 | 39.8301 | 41.6673 | 3 | 296 | 44.1603 | 39.1673 | 3 | 297 | 52.8205 | 34.1673 | 3 | 298 | 62.3468 | 28.6673 | 3 | 299 | 66.6769 | 26.1673 | 3 | 210 | 71.007 | 23.6673 | 3
282 |  | 2101 | 0 | 56 | 3 | 2102 | 5 | 56 | 3 | 2103 | 10 | 56 | 3 | 2104 | 38 | 48.4974 | 3 | 2105 | 42.3301 | 45.9974 | 3 | 2106 | 46.6603 | 43.4974 | 3 | 2107 | 55.3205 | 38.4974 | 3 | 2108 | 64.8468 | 32.9974 | 3 | 2109 | 69.1769 | 30.4974 | 3 | 21010 | 73.507 | 27.9974 | 3
283
284 | 3 | Third Floor Level |  | Elevation | 6
285 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
286 |  | 311 | 0 | 0 | 6 | 312 | 5 | 0 | 6 | 313 | 10 | 0 | 6 | 314 | 10 | 0 | 6 | 315 | 14.3301 | -2.5 | 6 | 316 | 18.6603 | -5 | 6 | 317 | 27.3205 | -10 | 6 | 318 | 36.8468 | -15.5 | 6 | 319 | 41.1769 | -18 | 6 | 310 | 41.1769 | -20.5 | 6
287 |  | 321 | 0 | 5 | 6 | 322 | 5 | 5 | 6 | 323 | 10 | 5 | 6 | 324 | 12.5 | 4.3301 | 6 | 325 | 16.8301 | 1.8301 | 6 | 326 | 21.1603 | -0.66987 | 6 | 327 | 29.8205 | -5.6699 | 6 | 328 | 39.3468 | -11.1699 | 6 | 329 | 43.6769 | -13.6699 | 6 | 310 | 48.007 | -16.1699 | 6
288 |  | 331 | 0 | 10 | 6 | 332 | 5 | 10 | 6 | 333 | 10 | 10 | 6 | 334 | 15 | 8.6603 | 6 | 335 | 19.3301 | 6.1603 | 6 | 336 | 23.6603 | 3.6603 | 6 | 337 | 32.3205 | -1.3397 | 6 | 338 | 41.8468 | -6.8397 | 6 | 339 | 46.1769 | -9.3397 | 6 | 310 | 50.507 | -11.8397 | 6
289 |  | 341 | 0 | 15 | 6 | 342 | 5 | 15 | 6 | 343 | 10 | 15 | 6 | 344 | 17.5 | 12.9904 | 6 | 345 | 21.8301 | 10.4904 | 6 | 346 | 26.1603 | 7.9904 | 6 | 347 | 34.8205 | 2.9904 | 6 | 348 | 44.3468 | -2.5096 | 6 | 349 | 48.6769 | -5.0096 | 6 | 310 | 53.007 | -7.5096 | 6
290 |  | 351 | 0 | 20 | 6 | 352 | 5 | 20 | 6 | 353 | 10 | 20 | 6 | 354 | 20 | 17.3205 | 6 | 355 | 24.3301 | 14.8205 | 6 | 356 | 28.6603 | 12.3205 | 6 | 357 | 37.3205 | 7.3205 | 6 | 358 | 46.8468 | 1.8205 | 6 | 359 | 51.1769 | -0.67949 | 6 | 310 | 55.507 | -3.1795 | 6
291 |  | 361 | 0 | 25 | 6 | 362 | 5 | 25 | 6 | 363 | 10 | 25 | 6 | 364 | 22.5 | 21.6506 | 6 | 365 | 26.8301 | 19.1506 | 6 | 366 | 31.1603 | 16.6506 | 6 | 367 | 39.8205 | 11.6506 | 6 | 368 | 49.3468 | 6.1506 | 6 | 369 | 53.6769 | 3.6506 | 6 | 310 | 58.007 | 1.1506 | 6
292 |  | 371 | 0 | 35 | 6 | 372 | 5 | 35 | 6 | 373 | 10 | 35 | 6 | 374 | 27.5 | 30.3109 | 6 | 375 | 31.8301 | 27.8109 | 6 | 376 | 36.1603 | 25.3109 | 6 | 377 | 44.8205 | 20.3109 | 6 | 378 | 54.3468 | 14.8109 | 6 | 379 | 58.6769 | 12.3109 | 6 | 310 | 63.007 | 9.8109 | 6
293 |  | 381 | 0 | 46 | 6 | 382 | 5 | 46 | 6 | 383 | 10 | 46 | 6 | 384 | 33 | 39.8372 | 6 | 385 | 37.3301 | 37.3372 | 6 | 386 | 41.6603 | 34.8372 | 6 | 387 | 50.3205 | 29.8372 | 6 | 388 | 59.8468 | 24.3372 | 6 | 389 | 64.1769 | 21.8372 | 6 | 310 | 68.507 | 19.3372 | 6
294 |  | 391 | 0 | 51 | 6 | 392 | 5 | 51 | 6 | 393 | 10 | 51 | 6 | 394 | 35.5 | 44.1673 | 6 | 395 | 39.8301 | 41.6673 | 6 | 396 | 44.1603 | 39.1673 | 6 | 397 | 52.8205 | 34.1673 | 6 | 398 | 62.3468 | 28.6673 | 6 | 399 | 66.6769 | 26.1673 | 6 | 310 | 71.007 | 23.6673 | 6
295 |  | 3101 | 0 | 56 | 6 | 3102 | 5 | 56 | 6 | 3103 | 10 | 56 | 6 | 3104 | 38 | 48.4974 | 6 | 3105 | 42.3301 | 45.9974 | 6 | 3106 | 46.6603 | 43.4974 | 6 | 3107 | 55.3205 | 38.4974 | 6 | 3108 | 64.8468 | 32.9974 | 6 | 3109 | 69.1769 | 30.4974 | 6 | 31010 | 73.507 | 27.9974 | 6
296
297 | 4 | Forth Floor Level |  | Elevation | 9
298 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
299 |  | 411 | 0 | 0 | 9 | 412 | 5 | 0 | 9 | 413 | 10 | 0 | 9 | 414 | 10 | 0 | 9 | 415 | 14.3301 | -2.5 | 9 | 416 | 18.6603 | -5 | 9 | 417 | 27.3205 | -10 | 9 | 418 | 36.8468 | -15.5 | 9 | 419 | 41.1769 | -18 | 9 | 410 | 41.1769 | -20.5 | 9
300 |  | 421 | 0 | 5 | 9 | 422 | 5 | 5 | 9 | 423 | 10 | 5 | 9 | 424 | 12.5 | 4.3301 | 9 | 425 | 16.8301 | 1.8301 | 9 | 426 | 21.1603 | -0.66987 | 9 | 427 | 29.8205 | -5.6699 | 9 | 428 | 39.3468 | -11.1699 | 9 | 429 | 43.6769 | -13.6699 | 9 | 410 | 48.007 | -16.1699 | 9
301 |  | 431 | 0 | 10 | 9 | 432 | 5 | 10 | 9 | 433 | 10 | 10 | 9 | 434 | 15 | 8.6603 | 9 | 435 | 19.3301 | 6.1603 | 9 | 436 | 23.6603 | 3.6603 | 9 | 437 | 32.3205 | -1.3397 | 9 | 438 | 41.8468 | -6.8397 | 9 | 439 | 46.1769 | -9.3397 | 9 | 410 | 50.507 | -11.8397 | 9
302 |  | 441 | 0 | 15 | 9 | 442 | 5 | 15 | 9 | 443 | 10 | 15 | 9 | 444 | 17.5 | 12.9904 | 9 | 445 | 21.8301 | 10.4904 | 9 | 446 | 26.1603 | 7.9904 | 9 | 447 | 34.8205 | 2.9904 | 9 | 448 | 44.3468 | -2.5096 | 9 | 449 | 48.6769 | -5.0096 | 9 | 410 | 53.007 | -7.5096 | 9
303 |  | 451 | 0 | 20 | 9 | 452 | 5 | 20 | 9 | 453 | 10 | 20 | 9 | 454 | 20 | 17.3205 | 9 | 455 | 24.3301 | 14.8205 | 9 | 456 | 28.6603 | 12.3205 | 9 | 457 | 37.3205 | 7.3205 | 9 | 458 | 46.8468 | 1.8205 | 9 | 459 | 51.1769 | -0.67949 | 9 | 410 | 55.507 | -3.1795 | 9
304 |  | 461 | 0 | 25 | 9 | 462 | 5 | 25 | 9 | 463 | 10 | 25 | 9 | 464 | 22.5 | 21.6506 | 9 | 465 | 26.8301 | 19.1506 | 9 | 466 | 31.1603 | 16.6506 | 9 | 467 | 39.8205 | 11.6506 | 9 | 468 | 49.3468 | 6.1506 | 9 | 469 | 53.6769 | 3.6506 | 9 | 410 | 58.007 | 1.1506 | 9
305 |  | 471 | 0 | 35 | 9 | 472 | 5 | 35 | 9 | 473 | 10 | 35 | 9 | 474 | 27.5 | 30.3109 | 9 | 475 | 31.8301 | 27.8109 | 9 | 476 | 36.1603 | 25.3109 | 9 | 477 | 44.8205 | 20.3109 | 9 | 478 | 54.3468 | 14.8109 | 9 | 479 | 58.6769 | 12.3109 | 9 | 410 | 63.007 | 9.8109 | 9
306 |  | 481 | 0 | 46 | 9 | 482 | 5 | 46 | 9 | 483 | 10 | 46 | 9 | 484 | 33 | 39.8372 | 9 | 485 | 37.3301 | 37.3372 | 9 | 486 | 41.6603 | 34.8372 | 9 | 487 | 50.3205 | 29.8372 | 9 | 488 | 59.8468 | 24.3372 | 9 | 489 | 64.1769 | 21.8372 | 9 | 410 | 68.507 | 19.3372 | 9
307 |  | 491 | 0 | 51 | 9 | 492 | 5 | 51 | 9 | 493 | 10 | 51 | 9 | 494 | 35.5 | 44.1673 | 9 | 495 | 39.8301 | 41.6673 | 9 | 496 | 44.1603 | 39.1673 | 9 | 497 | 52.8205 | 34.1673 | 9 | 498 | 62.3468 | 28.6673 | 9 | 499 | 66.6769 | 26.1673 | 9 | 410 | 71.007 | 23.6673 | 9
308 |  | 4101 | 0 | 56 | 9 | 4102 | 5 | 56 | 9 | 4103 | 10 | 56 | 9 | 4104 | 38 | 48.4974 | 9 | 4105 | 42.3301 | 45.9974 | 9 | 4106 | 46.6603 | 43.4974 | 9 | 4107 | 55.3205 | 38.4974 | 9 | 4108 | 64.8468 | 32.9974 | 9 | 4109 | 69.1769 | 30.4974 | 9 | 41010 | 73.507 | 27.9974 | 9
309
310 | 5 | Fifth Floor Level |  | Elevation | 12
311 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
312 |  | 511 | 0 | 0 | 12 | 512 | 5 | 0 | 12 | 513 | 10 | 0 | 12 | 514 | 10 | 0 | 12 | 515 | 14.3301 | -2.5 | 12 | 516 | 18.6603 | -5 | 12 | 517 | 27.3205 | -10 | 12 | 518 | 36.8468 | -15.5 | 12 | 519 | 41.1769 | -18 | 12 | 510 | 41.1769 | -20.5 | 12
313 |  | 521 | 0 | 5 | 12 | 522 | 5 | 5 | 12 | 523 | 10 | 5 | 12 | 524 | 12.5 | 4.3301 | 12 | 525 | 16.8301 | 1.8301 | 12 | 526 | 21.1603 | -0.66987 | 12 | 527 | 29.8205 | -5.6699 | 12 | 528 | 39.3468 | -11.1699 | 12 | 529 | 43.6769 | -13.6699 | 12 | 510 | 48.007 | -16.1699 | 12
314 |  | 531 | 0 | 10 | 12 | 532 | 5 | 10 | 12 | 533 | 10 | 10 | 12 | 534 | 15 | 8.6603 | 12 | 535 | 19.3301 | 6.1603 | 12 | 536 | 23.6603 | 3.6603 | 12 | 537 | 32.3205 | -1.3397 | 12 | 538 | 41.8468 | -6.8397 | 12 | 539 | 46.1769 | -9.3397 | 12 | 510 | 50.507 | -11.8397 | 12
315 |  | 541 | 0 | 15 | 12 | 542 | 5 | 15 | 12 | 543 | 10 | 15 | 12 | 544 | 17.5 | 12.9904 | 12 | 545 | 21.8301 | 10.4904 | 12 | 546 | 26.1603 | 7.9904 | 12 | 547 | 34.8205 | 2.9904 | 12 | 548 | 44.3468 | -2.5096 | 12 | 549 | 48.6769 | -5.0096 | 12 | 510 | 53.007 | -7.5096 | 12
316 |  | 551 | 0 | 20 | 12 | 552 | 5 | 20 | 12 | 553 | 10 | 20 | 12 | 554 | 20 | 17.3205 | 12 | 555 | 24.3301 | 14.8205 | 12 | 556 | 28.6603 | 12.3205 | 12 | 557 | 37.3205 | 7.3205 | 12 | 558 | 46.8468 | 1.8205 | 12 | 559 | 51.1769 | -0.67949 | 12 | 510 | 55.507 | -3.1795 | 12
317 |  | 561 | 0 | 25 | 12 | 562 | 5 | 25 | 12 | 563 | 10 | 25 | 12 | 564 | 22.5 | 21.6506 | 12 | 565 | 26.8301 | 19.1506 | 12 | 566 | 31.1603 | 16.6506 | 12 | 567 | 39.8205 | 11.6506 | 12 | 568 | 49.3468 | 6.1506 | 12 | 569 | 53.6769 | 3.6506 | 12 | 510 | 58.007 | 1.1506 | 12
318 |  | 571 | 0 | 35 | 12 | 572 | 5 | 35 | 12 | 573 | 10 | 35 | 12 | 574 | 27.5 | 30.3109 | 12 | 575 | 31.8301 | 27.8109 | 12 | 576 | 36.1603 | 25.3109 | 12 | 577 | 44.8205 | 20.3109 | 12 | 578 | 54.3468 | 14.8109 | 12 | 579 | 58.6769 | 12.3109 | 12 | 510 | 63.007 | 9.8109 | 12
319 |  | 581 | 0 | 46 | 12 | 582 | 5 | 46 | 12 | 583 | 10 | 46 | 12 | 584 | 33 | 39.8372 | 12 | 585 | 37.3301 | 37.3372 | 12 | 586 | 41.6603 | 34.8372 | 12 | 587 | 50.3205 | 29.8372 | 12 | 588 | 59.8468 | 24.3372 | 12 | 589 | 64.1769 | 21.8372 | 12 | 510 | 68.507 | 19.3372 | 12
320 |  | 591 | 0 | 51 | 12 | 592 | 5 | 51 | 12 | 593 | 10 | 51 | 12 | 594 | 35.5 | 44.1673 | 12 | 595 | 39.8301 | 41.6673 | 12 | 596 | 44.1603 | 39.1673 | 12 | 597 | 52.8205 | 34.1673 | 12 | 598 | 62.3468 | 28.6673 | 12 | 599 | 66.6769 | 26.1673 | 12 | 510 | 71.007 | 23.6673 | 12
321 |  | 5101 | 0 | 56 | 12 | 5102 | 5 | 56 | 12 | 5103 | 10 | 56 | 12 | 5104 | 38 | 48.4974 | 12 | 5105 | 42.3301 | 45.9974 | 12 | 5106 | 46.6603 | 43.4974 | 12 | 5107 | 55.3205 | 38.4974 | 12 | 5108 | 64.8468 | 32.9974 | 12 | 5109 | 69.1769 | 30.4974 | 12 | 51010 | 73.507 | 27.9974 | 12
322
323 | 6 | Sixth Floor Level |  | Elevation | 15
324 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
325 |  | 611 | 0 | 0 | 15 | 612 | 5 | 0 | 15 | 613 | 10 | 0 | 15 | 614 | 10 | 0 | 15 | 615 | 14.3301 | -2.5 | 15 | 616 | 18.6603 | -5 | 15 | 617 | 27.3205 | -10 | 15 | 618 | 36.8468 | -15.5 | 15 | 619 | 41.1769 | -18 | 15 | 610 | 41.1769 | -20.5 | 15
326 |  | 621 | 0 | 5 | 15 | 622 | 5 | 5 | 15 | 623 | 10 | 5 | 15 | 624 | 12.5 | 4.3301 | 15 | 625 | 16.8301 | 1.8301 | 15 | 626 | 21.1603 | -0.66987 | 15 | 627 | 29.8205 | -5.6699 | 15 | 628 | 39.3468 | -11.1699 | 15 | 629 | 43.6769 | -13.6699 | 15 | 610 | 48.007 | -16.1699 | 15
327 |  | 631 | 0 | 10 | 15 | 632 | 5 | 10 | 15 | 633 | 10 | 10 | 15 | 634 | 15 | 8.6603 | 15 | 635 | 19.3301 | 6.1603 | 15 | 636 | 23.6603 | 3.6603 | 15 | 637 | 32.3205 | -1.3397 | 15 | 638 | 41.8468 | -6.8397 | 15 | 639 | 46.1769 | -9.3397 | 15 | 610 | 50.507 | -11.8397 | 15
328 |  | 641 | 0 | 15 | 15 | 642 | 5 | 15 | 15 | 643 | 10 | 15 | 15 | 644 | 17.5 | 12.9904 | 15 | 645 | 21.8301 | 10.4904 | 15 | 646 | 26.1603 | 7.9904 | 15 | 647 | 34.8205 | 2.9904 | 15 | 648 | 44.3468 | -2.5096 | 15 | 649 | 48.6769 | -5.0096 | 15 | 610 | 53.007 | -7.5096 | 15
329 |  | 651 | 0 | 20 | 15 | 652 | 5 | 20 | 15 | 653 | 10 | 20 | 15 | 654 | 20 | 17.3205 | 15 | 655 | 24.3301 | 14.8205 | 15 | 656 | 28.6603 | 12.3205 | 15 | 657 | 37.3205 | 7.3205 | 15 | 658 | 46.8468 | 1.8205 | 15 | 659 | 51.1769 | -0.67949 | 15 | 610 | 55.507 | -3.1795 | 15
330 |  | 661 | 0 | 25 | 15 | 662 | 5 | 25 | 15 | 663 | 10 | 25 | 15 | 664 | 22.5 | 21.6506 | 15 | 665 | 26.8301 | 19.1506 | 15 | 666 | 31.1603 | 16.6506 | 15 | 667 | 39.8205 | 11.6506 | 15 | 668 | 49.3468 | 6.1506 | 15 | 669 | 53.6769 | 3.6506 | 15 | 610 | 58.007 | 1.1506 | 15
331 |  | 671 | 0 | 35 | 15 | 672 | 5 | 35 | 15 | 673 | 10 | 35 | 15 | 674 | 27.5 | 30.3109 | 15 | 675 | 31.8301 | 27.8109 | 15 | 676 | 36.1603 | 25.3109 | 15 | 677 | 44.8205 | 20.3109 | 15 | 678 | 54.3468 | 14.8109 | 15 | 679 | 58.6769 | 12.3109 | 15 | 610 | 63.007 | 9.8109 | 15
332 |  | 681 | 0 | 46 | 15 | 682 | 5 | 46 | 15 | 683 | 10 | 46 | 15 | 684 | 33 | 39.8372 | 15 | 685 | 37.3301 | 37.3372 | 15 | 686 | 41.6603 | 34.8372 | 15 | 687 | 50.3205 | 29.8372 | 15 | 688 | 59.8468 | 24.3372 | 15 | 689 | 64.1769 | 21.8372 | 15 | 610 | 68.507 | 19.3372 | 15
333 |  | 691 | 0 | 51 | 15 | 692 | 5 | 51 | 15 | 693 | 10 | 51 | 15 | 694 | 35.5 | 44.1673 | 15 | 695 | 39.8301 | 41.6673 | 15 | 696 | 44.1603 | 39.1673 | 15 | 697 | 52.8205 | 34.1673 | 15 | 698 | 62.3468 | 28.6673 | 15 | 699 | 66.6769 | 26.1673 | 15 | 610 | 71.007 | 23.6673 | 15
334 |  | 6101 | 0 | 56 | 15 | 6102 | 5 | 56 | 15 | 6103 | 10 | 56 | 15 | 6104 | 38 | 48.4974 | 15 | 6105 | 42.3301 | 45.9974 | 15 | 6106 | 46.6603 | 43.4974 | 15 | 6107 | 55.3205 | 38.4974 | 15 | 6108 | 64.8468 | 32.9974 | 15 | 6109 | 69.1769 | 30.4974 | 15 | 61010 | 73.507 | 27.9974 | 15
335
336 | 7 | Seventh Floor Level |  | Elevation | 18
337 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
338 |  | 711 | 0 | 0 | 18 | 712 | 5 | 0 | 18 | 713 | 10 | 0 | 18 | 714 | 10 | 0 | 18 | 715 | 14.3301 | -2.5 | 18 | 716 | 18.6603 | -5 | 18 | 717 | 27.3205 | -10 | 18 | 718 | 36.8468 | -15.5 | 18 | 719 | 41.1769 | -18 | 18 | 710 | 41.1769 | -20.5 | 18
339 |  | 721 | 0 | 5 | 18 | 722 | 5 | 5 | 18 | 723 | 10 | 5 | 18 | 724 | 12.5 | 4.3301 | 18 | 725 | 16.8301 | 1.8301 | 18 | 726 | 21.1603 | -0.66987 | 18 | 727 | 29.8205 | -5.6699 | 18 | 728 | 39.3468 | -11.1699 | 18 | 729 | 43.6769 | -13.6699 | 18 | 710 | 48.007 | -16.1699 | 18
340 |  | 731 | 0 | 10 | 18 | 732 | 5 | 10 | 18 | 733 | 10 | 10 | 18 | 734 | 15 | 8.6603 | 18 | 735 | 19.3301 | 6.1603 | 18 | 736 | 23.6603 | 3.6603 | 18 | 737 | 32.3205 | -1.3397 | 18 | 738 | 41.8468 | -6.8397 | 18 | 739 | 46.1769 | -9.3397 | 18 | 710 | 50.507 | -11.8397 | 18
341 |  | 741 | 0 | 15 | 18 | 742 | 5 | 15 | 18 | 743 | 10 | 15 | 18 | 744 | 17.5 | 12.9904 | 18 | 745 | 21.8301 | 10.4904 | 18 | 746 | 26.1603 | 7.9904 | 18 | 747 | 34.8205 | 2.9904 | 18 | 748 | 44.3468 | -2.5096 | 18 | 749 | 48.6769 | -5.0096 | 18 | 710 | 53.007 | -7.5096 | 18
342 |  | 751 | 0 | 20 | 18 | 752 | 5 | 20 | 18 | 753 | 10 | 20 | 18 | 754 | 20 | 17.3205 | 18 | 755 | 24.3301 | 14.8205 | 18 | 756 | 28.6603 | 12.3205 | 18 | 757 | 37.3205 | 7.3205 | 18 | 758 | 46.8468 | 1.8205 | 18 | 759 | 51.1769 | -0.67949 | 18 | 710 | 55.507 | -3.1795 | 18
343 |  | 761 | 0 | 25 | 18 | 762 | 5 | 25 | 18 | 763 | 10 | 25 | 18 | 764 | 22.5 | 21.6506 | 18 | 765 | 26.8301 | 19.1506 | 18 | 766 | 31.1603 | 16.6506 | 18 | 767 | 39.8205 | 11.6506 | 18 | 768 | 49.3468 | 6.1506 | 18 | 769 | 53.6769 | 3.6506 | 18 | 710 | 58.007 | 1.1506 | 18
344 |  | 771 | 0 | 35 | 18 | 772 | 5 | 35 | 18 | 773 | 10 | 35 | 18 | 774 | 27.5 | 30.3109 | 18 | 775 | 31.8301 | 27.8109 | 18 | 776 | 36.1603 | 25.3109 | 18 | 777 | 44.8205 | 20.3109 | 18 | 778 | 54.3468 | 14.8109 | 18 | 779 | 58.6769 | 12.3109 | 18 | 710 | 63.007 | 9.8109 | 18
345 |  | 781 | 0 | 46 | 18 | 782 | 5 | 46 | 18 | 783 | 10 | 46 | 18 | 784 | 33 | 39.8372 | 18 | 785 | 37.3301 | 37.3372 | 18 | 786 | 41.6603 | 34.8372 | 18 | 787 | 50.3205 | 29.8372 | 18 | 788 | 59.8468 | 24.3372 | 18 | 789 | 64.1769 | 21.8372 | 18 | 710 | 68.507 | 19.3372 | 18
346 |  | 791 | 0 | 51 | 18 | 792 | 5 | 51 | 18 | 793 | 10 | 51 | 18 | 794 | 35.5 | 44.1673 | 18 | 795 | 39.8301 | 41.6673 | 18 | 796 | 44.1603 | 39.1673 | 18 | 797 | 52.8205 | 34.1673 | 18 | 798 | 62.3468 | 28.6673 | 18 | 799 | 66.6769 | 26.1673 | 18 | 710 | 71.007 | 23.6673 | 18
347 |  | 7101 | 0 | 56 | 18 | 7102 | 5 | 56 | 18 | 7103 | 10 | 56 | 18 | 7104 | 38 | 48.4974 | 18 | 7105 | 42.3301 | 45.9974 | 18 | 7106 | 46.6603 | 43.4974 | 18 | 7107 | 55.3205 | 38.4974 | 18 | 7108 | 64.8468 | 32.9974 | 18 | 7109 | 69.1769 | 30.4974 | 18 | 71010 | 73.507 | 27.9974 | 18
348
349 | 8 | Eighth Floor Level |  | Elevation | 21
350 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
351 |  | 811 | 0 | 0 | 21 | 812 | 5 | 0 | 21 | 813 | 10 | 0 | 21 | 814 | 10 | 0 | 21 | 815 | 14.3301 | -2.5 | 21 | 816 | 18.6603 | -5 | 21 | 817 | 27.3205 | -10 | 21 | 818 | 36.8468 | -15.5 | 21 | 819 | 41.1769 | -18 | 21 | 810 | 41.1769 | -20.5 | 21
352 |  | 821 | 0 | 5 | 21 | 822 | 5 | 5 | 21 | 823 | 10 | 5 | 21 | 824 | 12.5 | 4.3301 | 21 | 825 | 16.8301 | 1.8301 | 21 | 826 | 21.1603 | -0.66987 | 21 | 827 | 29.8205 | -5.6699 | 21 | 828 | 39.3468 | -11.1699 | 21 | 829 | 43.6769 | -13.6699 | 21 | 810 | 48.007 | -16.1699 | 21
353 |  | 831 | 0 | 10 | 21 | 832 | 5 | 10 | 21 | 833 | 10 | 10 | 21 | 834 | 15 | 8.6603 | 21 | 835 | 19.3301 | 6.1603 | 21 | 836 | 23.6603 | 3.6603 | 21 | 837 | 32.3205 | -1.3397 | 21 | 838 | 41.8468 | -6.8397 | 21 | 839 | 46.1769 | -9.3397 | 21 | 810 | 50.507 | -11.8397 | 21
354 |  | 841 | 0 | 15 | 21 | 842 | 5 | 15 | 21 | 843 | 10 | 15 | 21 | 844 | 17.5 | 12.9904 | 21 | 845 | 21.8301 | 10.4904 | 21 | 846 | 26.1603 | 7.9904 | 21 | 847 | 34.8205 | 2.9904 | 21 | 848 | 44.3468 | -2.5096 | 21 | 849 | 48.6769 | -5.0096 | 21 | 810 | 53.007 | -7.5096 | 21
355 |  | 851 | 0 | 20 | 21 | 852 | 5 | 20 | 21 | 853 | 10 | 20 | 21 | 854 | 20 | 17.3205 | 21 | 855 | 24.3301 | 14.8205 | 21 | 856 | 28.6603 | 12.3205 | 21 | 857 | 37.3205 | 7.3205 | 21 | 858 | 46.8468 | 1.8205 | 21 | 859 | 51.1769 | -0.67949 | 21 | 810 | 55.507 | -3.1795 | 21
356 |  | 861 | 0 | 25 | 21 | 862 | 5 | 25 | 21 | 863 | 10 | 25 | 21 | 864 | 22.5 | 21.6506 | 21 | 865 | 26.8301 | 19.1506 | 21 | 866 | 31.1603 | 16.6506 | 21 | 867 | 39.8205 | 11.6506 | 21 | 868 | 49.3468 | 6.1506 | 21 | 869 | 53.6769 | 3.6506 | 21 | 810 | 58.007 | 1.1506 | 21
357 |  | 871 | 0 | 35 | 21 | 872 | 5 | 35 | 21 | 873 | 10 | 35 | 21 | 874 | 27.5 | 30.3109 | 21 | 875 | 31.8301 | 27.8109 | 21 | 876 | 36.1603 | 25.3109 | 21 | 877 | 44.8205 | 20.3109 | 21 | 878 | 54.3468 | 14.8109 | 21 | 879 | 58.6769 | 12.3109 | 21 | 810 | 63.007 | 9.8109 | 21
358 |  | 881 | 0 | 46 | 21 | 882 | 5 | 46 | 21 | 883 | 10 | 46 | 21 | 884 | 33 | 39.8372 | 21 | 885 | 37.3301 | 37.3372 | 21 | 886 | 41.6603 | 34.8372 | 21 | 887 | 50.3205 | 29.8372 | 21 | 888 | 59.8468 | 24.3372 | 21 | 889 | 64.1769 | 21.8372 | 21 | 810 | 68.507 | 19.3372 | 21
359 |  | 891 | 0 | 51 | 21 | 892 | 5 | 51 | 21 | 893 | 10 | 51 | 21 | 894 | 35.5 | 44.1673 | 21 | 895 | 39.8301 | 41.6673 | 21 | 896 | 44.1603 | 39.1673 | 21 | 897 | 52.8205 | 34.1673 | 21 | 898 | 62.3468 | 28.6673 | 21 | 899 | 66.6769 | 26.1673 | 21 | 810 | 71.007 | 23.6673 | 21
360 |  | 8101 | 0 | 56 | 21 | 8102 | 5 | 56 | 21 | 8103 | 10 | 56 | 21 | 8104 | 38 | 48.4974 | 21 | 8105 | 42.3301 | 45.9974 | 21 | 8106 | 46.6603 | 43.4974 | 21 | 8107 | 55.3205 | 38.4974 | 21 | 8108 | 64.8468 | 32.9974 | 21 | 8109 | 69.1769 | 30.4974 | 21 | 81010 | 73.507 | 27.9974 | 21
361
362 | 9 | Ninth Floor Level |  | Elevation | 24
363 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
364 |  | 911 | 0 | 0 | 24 | 912 | 5 | 0 | 24 | 913 | 10 | 0 | 24 | 914 | 10 | 0 | 24 | 915 | 14.3301 | -2.5 | 24 | 916 | 18.6603 | -5 | 24 | 917 | 27.3205 | -10 | 24 | 918 | 36.8468 | -15.5 | 24 | 919 | 41.1769 | -18 | 24 | 910 | 41.1769 | -20.5 | 24
365 |  | 921 | 0 | 5 | 24 | 922 | 5 | 5 | 24 | 923 | 10 | 5 | 24 | 924 | 12.5 | 4.3301 | 24 | 925 | 16.8301 | 1.8301 | 24 | 926 | 21.1603 | -0.66987 | 24 | 927 | 29.8205 | -5.6699 | 24 | 928 | 39.3468 | -11.1699 | 24 | 929 | 43.6769 | -13.6699 | 24 | 910 | 48.007 | -16.1699 | 24
366 |  | 931 | 0 | 10 | 24 | 932 | 5 | 10 | 24 | 933 | 10 | 10 | 24 | 934 | 15 | 8.6603 | 24 | 935 | 19.3301 | 6.1603 | 24 | 936 | 23.6603 | 3.6603 | 24 | 937 | 32.3205 | -1.3397 | 24 | 938 | 41.8468 | -6.8397 | 24 | 939 | 46.1769 | -9.3397 | 24 | 910 | 50.507 | -11.8397 | 24
367 |  | 941 | 0 | 15 | 24 | 942 | 5 | 15 | 24 | 943 | 10 | 15 | 24 | 944 | 17.5 | 12.9904 | 24 | 945 | 21.8301 | 10.4904 | 24 | 946 | 26.1603 | 7.9904 | 24 | 947 | 34.8205 | 2.9904 | 24 | 948 | 44.3468 | -2.5096 | 24 | 949 | 48.6769 | -5.0096 | 24 | 910 | 53.007 | -7.5096 | 24
368 |  | 951 | 0 | 20 | 24 | 952 | 5 | 20 | 24 | 953 | 10 | 20 | 24 | 954 | 20 | 17.3205 | 24 | 955 | 24.3301 | 14.8205 | 24 | 956 | 28.6603 | 12.3205 | 24 | 957 | 37.3205 | 7.3205 | 24 | 958 | 46.8468 | 1.8205 | 24 | 959 | 51.1769 | -0.67949 | 24 | 910 | 55.507 | -3.1795 | 24
369 |  | 961 | 0 | 25 | 24 | 962 | 5 | 25 | 24 | 963 | 10 | 25 | 24 | 964 | 22.5 | 21.6506 | 24 | 965 | 26.8301 | 19.1506 | 24 | 966 | 31.1603 | 16.6506 | 24 | 967 | 39.8205 | 11.6506 | 24 | 968 | 49.3468 | 6.1506 | 24 | 969 | 53.6769 | 3.6506 | 24 | 910 | 58.007 | 1.1506 | 24
370 |  | 971 | 0 | 35 | 24 | 972 | 5 | 35 | 24 | 973 | 10 | 35 | 24 | 974 | 27.5 | 30.3109 | 24 | 975 | 31.8301 | 27.8109 | 24 | 976 | 36.1603 | 25.3109 | 24 | 977 | 44.8205 | 20.3109 | 24 | 978 | 54.3468 | 14.8109 | 24 | 979 | 58.6769 | 12.3109 | 24 | 910 | 63.007 | 9.8109 | 24
371 |  | 981 | 0 | 46 | 24 | 982 | 5 | 46 | 24 | 983 | 10 | 46 | 24 | 984 | 33 | 39.8372 | 24 | 985 | 37.3301 | 37.3372 | 24 | 986 | 41.6603 | 34.8372 | 24 | 987 | 50.3205 | 29.8372 | 24 | 988 | 59.8468 | 24.3372 | 24 | 989 | 64.1769 | 21.8372 | 24 | 910 | 68.507 | 19.3372 | 24
372 |  | 991 | 0 | 51 | 24 | 992 | 5 | 51 | 24 | 993 | 10 | 51 | 24 | 994 | 35.5 | 44.1673 | 24 | 995 | 39.8301 | 41.6673 | 24 | 996 | 44.1603 | 39.1673 | 24 | 997 | 52.8205 | 34.1673 | 24 | 998 | 62.3468 | 28.6673 | 24 | 999 | 66.6769 | 26.1673 | 24 | 910 | 71.007 | 23.6673 | 24
373 |  | 9101 | 0 | 56 | 24 | 9102 | 5 | 56 | 24 | 9103 | 10 | 56 | 24 | 9104 | 38 | 48.4974 | 24 | 9105 | 42.3301 | 45.9974 | 24 | 9106 | 46.6603 | 43.4974 | 24 | 9107 | 55.3205 | 38.4974 | 24 | 9108 | 64.8468 | 32.9974 | 24 | 9109 | 69.1769 | 30.4974 | 24 | 91010 | 73.507 | 27.9974 | 24
374
375 | 10 | Tenth Floor Level |  | Elevation | 27
376 |  |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z |  | X | Y | Z
377 |  | 1011 | 0 | 0 | 27 | 1012 | 5 | 0 | 27 | 1013 | 10 | 0 | 27 | 1014 | 10 | 0 | 27 | 1015 | 14.3301 | -2.5 | 27 | 1016 | 18.6603 | -5 | 27 | 1017 | 27.3205 | -10 | 27 | 1018 | 36.8468 | -15.5 | 27 | 1019 | 41.1769 | -18 | 27 | 1010 | 41.1769 | -20.5 | 27
378 |  | 1021 | 0 | 5 | 27 | 1022 | 5 | 5 | 27 | 1023 | 10 | 5 | 27 | 1024 | 12.5 | 4.3301 | 27 | 1025 | 16.8301 | 1.8301 | 27 | 1026 | 21.1603 | -0.66987 | 27 | 1027 | 29.8205 | -5.6699 | 27 | 1028 | 39.3468 | -11.1699 | 27 | 1029 | 43.6769 | -13.6699 | 27 | 1010 | 48.007 | -16.1699 | 27
379 |  | 1031 | 0 | 10 | 27 | 1032 | 5 | 10 | 27 | 1033 | 10 | 10 | 27 | 1034 | 15 | 8.6603 | 27 | 1035 | 19.3301 | 6.1603 | 27 | 1036 | 23.6603 | 3.6603 | 27 | 1037 | 32.3205 | -1.3397 | 27 | 1038 | 41.8468 | -6.8397 | 27 | 1039 | 46.1769 | -9.3397 | 27 | 1010 | 50.507 | -11.8397 | 27
380 |  | 1041 | 0 | 15 | 27 | 1042 | 5 | 15 | 27 | 1043 | 10 | 15 | 27 | 1044 | 17.5 | 12.9904 | 27 | 1045 | 21.8301 | 10.4904 | 27 | 1046 | 26.1603 | 7.9904 | 27 | 1047 | 34.8205 | 2.9904 | 27 | 1048 | 44.3468 | -2.5096 | 27 | 1049 | 48.6769 | -5.0096 | 27 | 1010 | 53.007 | -7.5096 | 27
381 |  | 1051 | 0 | 20 | 27 | 1052 | 5 | 20 | 27 | 1053 | 10 | 20 | 27 | 1054 | 20 | 17.3205 | 27 | 1055 | 24.3301 | 14.8205 | 27 | 1056 | 28.6603 | 12.3205 | 27 | 1057 | 37.3205 | 7.3205 | 27 | 1058 | 46.8468 | 1.8205 | 27 | 1059 | 51.1769 | -0.67949 | 27 | 1010 | 55.507 | -3.1795 | 27
382 |  | 1061 | 0 | 25 | 27 | 1062 | 5 | 25 | 27 | 1063 | 10 | 25 | 27 | 1064 | 22.5 | 21.6506 | 27 | 1065 | 26.8301 | 19.1506 | 27 | 1066 | 31.1603 | 16.6506 | 27 | 1067 | 39.8205 | 11.6506 | 27 | 1068 | 49.3468 | 6.1506 | 27 | 1069 | 53.6769 | 3.6506 | 27 | 1010 | 58.007 | 1.1506 | 27
383 |  | 1071 | 0 | 35 | 27 | 1072 | 5 | 35 | 27 | 1073 | 10 | 35 | 27 | 1074 | 27.5 | 30.3109 | 27 | 1075 | 31.8301 | 27.8109 | 27 | 1076 | 36.1603 | 25.3109 | 27 | 1077 | 44.8205 | 20.3109 | 27 | 1078 | 54.3468 | 14.8109 | 27 | 1079 | 58.6769 | 12.3109 | 27 | 1010 | 63.007 | 9.8109 | 27
384 |  | 1081 | 0 | 46 | 27 | 1082 | 5 | 46 | 27 | 1083 | 10 | 46 | 27 | 1084 | 33 | 39.8372 | 27 | 1085 | 37.3301 | 37.3372 | 27 | 1086 | 41.6603 | 34.8372 | 27 | 1087 | 50.3205 | 29.8372 | 27 | 1088 | 59.8468 | 24.3372 | 27 | 1089 | 64.1769 | 21.8372 | 27 | 1010 | 68.507 | 19.3372 | 27
385 |  | 1091 | 0 | 51 | 27 | 1092 | 5 | 51 | 27 | 1093 | 10 | 51 | 27 | 1094 | 35.5 | 44.1673 | 27 | 1095 | 39.8301 | 41.6673 | 27 | 1096 | 44.1603 | 39.1673 | 27 | 1097 | 52.8205 | 34.1673 | 27 | 1098 | 62.3468 | 28.6673 | 27 | 1099 | 66.6769 | 26.1673 | 27 | 1010 | 71.007 | 23.6673 | 27
386 |  | 10101 | 0 | 56 | 27 | 10102 | 5 | 56 | 27 | 10103 | 10 | 56 | 27 | 10104 | 38 | 48.4974 | 27 | 10105 | 42.3301 | 45.9974 | 27 | 10106 | 46.6603 | 43.4974 | 27 | 10107 | 55.3205 | 38.4974 | 27 | 10108 | 64.8468 | 32.9974 | 27 | 10109 | 69.1769 | 30.4974 | 27 | 101010 | 73.507 | 27.9974 | 27
387
388 |  | For Further Storey Extension above last block can Directly be copied and pasted in similar pattern below

## Seismic Coefficients
Seismic Coefficient as per NBC 105:2020
Seismic zoning factor (Z) | 0.35
Importance Factor (I) | 1
Height of the Building (h) | 9
Soil type | C |  | C
Period of Vibration |  |  | A | B | C | D
For reinforced moment resisting frame, Kt | 0.075 | Ta | 0.1 | 0.1 | 0.1 | 0.5
T1=1.25*Kt*h0.75 | 0.48714 | Tc | 0.5 | 0.7 | 1 | 2
Lower period of the flat part of the spectrum Ta | 0.1 | α | 2.5 | 2.5 | 2.5 | 2.25
Upper period of the flat part of the spectrum Tc | 1 | K | 1.8 | 1.8 | 1.8 | 0.8
Peak spectral acceleration normalized by PGA α | 2.5
Coefficient to control the descending branch of the spectrum K | 1.8 |  | Structural System | Rµ | Ωu | Ωs
|  | Moment Resisting Frame System | Steel Moment Resisting Frame System | 4 | 1.5 | 1.25
Calculation of spectral shape factor:Ch(T) |  |  | Reinforced Concrete Moment Resisting Frame System | 4 | 1.5 | 1.25
(Clause 4.1.2 or Eqn. 4.1 NBC 105-2020) |  |  | Steel + RC Composite Moment Resisting Frame System | 4 | 1.5 | 1.25
Since Ta ≤ T1 ≤ Tc, Ch(T) | 2.5 | Braced Frame Systems | Steel Eccentrically Braced Frame Systems | 4 | 1.5 | 1.25
Elastic site spectra for the Horizontal Loading (Clause 4.1.1 NBC 105-2020) |  |  | Steel + RC Composite Braced Frame Systems | 4 | 1.5 | 1.25
C(T)=Ch(T) Z I | 0.875 |  | Steel Concentric Braced Frame Systems | 3 | 1.3 | 1.15
Elastic site spectra for the SLS state (Clause 4.2 NBC 105-2020) |  |  | Steel + RC Composite Concentric Braced Frame Systems | 3 | 1.3 | 1.15
Cs(T1)=0.2*C(T) | 0.175 |  | Steel Buckling Restraint Braces | 4 | 1.5 | 1.25
|  | Structural Wall Systems | RC Shear Wall | 3 | 1.3 | 1.15
Horizontal base shear coefficeint for the equivalent static method |  |  | Steel + RC Composite Shear Wall | 3 | 1.3 | 1.15
(Clause 5.4.1 and Clause 5.4.2 NBC 105-2020) |  |  | Reinforced Masonry shear wall | 2.5 | 1.2 | 1.1
Type of structural system | Reinforced Concrete Moment Resisting Frame System |  | Confined Masonry Wall | 2.5 | 1.2 | 1.1
Ductility factor for ULS state(Rµ) | 4 |  | Unreinforced Masonry wall building with horizontal bands and vertical reinforcements bars at critical location | 2 | 1.2 | 1.1
Overstrength factor for ULS state(Ωu) | 1.5 | Dual Systems | Steel Eccentrically Braced Frame Systems | 4 | 1.5 | 1.25
Ductility factor for SLS state(Rs) | 1 |  | Steel + RC Composite Braced Frame Systems | 4 | 1.5 | 1.25
Overstrength factor for SLS state (Ωs) | 1.25 |  | Steel Concentric Braced Frame Systems | 3.5 | 1.4 | 1.2
Horizontal base shear coefficient at the ULS state (Clause 6.1.1 NBC 105-2020) |  |  | Steel + RC Composite Concentric Braced Frame Systems | 3.5 | 1.4 | 1.2
Cd(T1) = C(T) / (Rµ Ωu) | 0.14583 |  | Steel Buckling Restraint Braces | 4 | 1.5 | 1.25
Horizontal base shear coefficient at the SLS state (Clause 6.1.2 NBC 105-2020) |  |  | RC Shear Wall | 3.5 | 1.4 | 1.2
Cd(T1) = Cs(T1) / Ωs | 0.14 |  | Steel + RC Composite Shear Wall | 3.5 | 1.4 | 1.2
Exponent related to the structural period (K) | 1.0655
Eccentricity Ratio (All Diaphragm) | 0.1
Displacement Criteria for the Equivalent Static Method
Allowable ratio ULS | 0.025
Allowable displacement ULS = 0.025 H / Rµ | 56.25
Allowable ratio SLS | 0.006
Allowable displacement SLS = 0.006 H / Rs | 54
Displacement Criteria for the Equivalent Static Method
Story drift from ETABS ULS
Allowable drift = 0.025 / Rµ | 0.00625
Allowable drift from ETABS SLS
Allowable drift | 0.006

## Beam Column Reinforcements
Beam Reinforcements Design
Longitudinal Reinforcments
Required area of reinforcements | 1210
Number of 20mm diameter bars | 0
Number of 16mm diameter bars | 1
Number of 12mm diameter bars | 0
Provided area of Reinforcement | 201.0619
Transverse / Shear Reinforcement
Required area of reinforcements | 738
Depth of beam | 350
Width of beam | 230
Number of legs in a stirrup | 2
Diameter of a stirrup | 8
Area of single stirrup | 100.531
Spacing required | 136.2208
Spacing provided | 100
Provided shear reinforcements | 1005.3096
Column Reinforcements Design
Longitudinal Reinforcments
Required area of reinforcements | 1210
Number of 20mm diameter bars | 0
Number of 16mm diameter bars | 1
Number of 12mm diameter bars | 0
Provided area of Reinforcement | 201.0619
Transverse Reinforcement
Required area of reinforcements | 738
Dimension of column (along 2 dir.) | 2550
Dimension of column (along 3 dir.) | 230
Number of legs in a tie | 2
Diameter of a tie | 8
Area of single tie | 100.531
Spacing required | 136.2208
Spacing provided | 100
Provided transverse reinforcements | 1005.3096

## Footing Design
Area Approximation for Square Type Isolated Footing
Safe bearing capacity of soil (SBC) | 160
Service load from column | 420
Required Area | 2.625
Computed Length (L=B) | 1.6202
Adopted Length | 1.7
Adopted Area | 2.89
Area Approximation for Rectangular Type Isolated Footing
Safe bearing capacity of soil (SBC) | 160
Service load from column | 420
Length/Breadth Ratio | 1.8
Required Area | 2.625
Computed Length (L) | 2.1737
Computed Breadth (B) | 1.2076
Adopted Length | 2.2
Adopted Breadth | 1.5
Adopted Area | 3.3

## Staircase Loading
Dog Legged Staircase with Mid Landing Length equal to its Width
Load calculations for Dog Legged Staircase
| Unit Weight of Concrete | 25 | Types of Staircases
| Riser | 0.15 | Open Well
| Tread | 0.3 | Dog Legged
| Width of staircase | 1.93
| Slab thickness | 0.15
| Step | 0.34 |  | For First Flight and Landings |  |  |  | Rectangle Points
| Live load | 3 |  | Face Number | X- axis Level | Y- Axis Vertical Face | Z axis starting | Starting | Width | Height
| Floor finish load | 1 |  | 1 | 0 | 0 | 0 | 0,0,0 | 1.93 | 0.15 | _rectang 0,0,0 1.93/n0.15
| Type of staircase | Dog Legged |  | 2 | 0 | 0.3 | 0.15 | 0,0.3,0.15 | 1.93 | 0.15 | _rectang 0,0.3,0.15 1.93/n0.15
|  |  |  | 3 | 0 | 0.6 | 0.3 | 0,0.6,0.3 | 1.93 | 0.15 | _rectang 0,0.6,0.3 1.93/n0.15
| For First Flight and Second Flight |  |  | 4 | 0 | 0.9 | 0.45 | 0,0.9,0.45 | 1.93 | 0.15 | _rectang 0,0.9,0.45 1.93/n0.15
| Length of first landing | 1.27 |  | 5 | 0 | 1.2 | 0.6 | 0,1.2,0.6 | 1.93 | 0.15 | _rectang 0,1.2,0.6 1.93/n0.15
| Length of first flight | 1.52 |  | 6 | 0 | 1.5 | 0.75 | 0,1.5,0.75 | 1.93 | 0.15 | _rectang 0,1.5,0.75 1.93/n0.15
| Number of steps in first flight | 5 |  | 7 | 0 | 1.8 | 0.9 | 0,1.8,0.9 | 1.93 | 0.15 | _rectang 0,1.8,0.9 1.93/n0.15
| Inclination | 30.96 |  | 8 | 0 | 2.1 | 1.05 | 0,2.1,1.05 | 1.93 | 0.15 | _rectang 0,2.1,1.05 1.93/n0.15
| Slant length of the flight | 1.77 |  | 9 | 0 | 2.4 | 1.2 | 0,2.4,1.2 | 1.93 | 0.15 | _rectang 0,2.4,1.2 1.93/n0.15
|  |  |  | 10 | 0 | 2.7 | 1.35 | 0,2.7,1.35 | 1.93 | 0.15 | _rectang 0,2.7,1.35 1.93/n0.15
| For First Flight and Second Flight |  |  | 11 | 0 | 3 | 1.5 | 0,3,1.5 | 1.93 | 0.15 | _rectang 0,3,1.5 1.93/n0.15
| Volume of Concrete | 1.6559 |  | 12 | 0 | 3.3 | 1.65 | 0,3.3,1.65 | 1.93 | 0.15 | _rectang 0,3.3,1.65 1.93/n0.15
| Total Dead Load | 41.3985 |  | 13 | 0 | 3.6 | 1.8 | 0,3.6,1.8 | 1.93 | 0.15 | _rectang 0,3.6,1.8 1.93/n0.15
| Dead Load Per Width | 21.45 |  | 14 | 0 | 3.9 | 1.95 | 0,3.9,1.95 | 1.93 | 0.15 | _rectang 0,3.9,1.95 1.93/n0.15
| Live Load | 3 |  | 15 | 0 | 4.2 | 2.1 | 0,4.2,2.1 | 1.93 | 0.15 | _rectang 0,4.2,2.1 1.93/n0.15
| Live load per width | 14.91
| Floor finish | 1
| Floor finish per width | 4.97
| Total load per width | 41.33
| Live load on each beam | 20.665
Dog Legged Staircase with Mid Landing Length not equal to its Width
Load calculations for Dog Legged Staircase
| Unit Weight of Concrete | 25
| Riser | 0.148
| Tread | 0.3
| Width of staircase | 1.93
| Slab thickness | 0.15
| Step | 0.34
| Live load | 3
| Floor finish load | 1
| Type of staircase | Dog Legged
For First Flight and Second Flight
| Length of first landing | 1.27
| Length of first flight | 1.52
| Number of steps in first flight | 5
| Inclination | 30.63
| Slant length of the flight | 1.77
For Mid Flight
| Length of mid landing (along flight direction) | 1
For First Flight and Second Flight
| Volume of Concrete | 1.3838
| Total Dead Load | 34.5952
| Dead Load Per Width | 17.925
| Live Load | 3
| Live load per width | 12.12
| Floor finish | 1
| Floor finish per width | 4.04
| Total load per width | 34.085
| Live load on each beam | 17.0425
Dog Legged Staircase with Mid Landing Length not equal to its Width
Load calculations for Open Well Staircase
| Unit Weight of Concrete | 25
| Riser | 0.148
| Tread | 0.3
| Width of staircase | 1.93
| Slab thickness | 0.15
| Step | 0.34
| Live load | 3
| Floor finish load | 1
| Type of staircase | Open Well
For First Flight and Third Flight
| Length of first landing | 1.27
| Length of first flight | 1.52
| Number of steps in first flight | 5
| Inclination | 30.63
| Slant length of the flight | 1.77
For Mid Flight
| Length of mid landing | 1.95
| Length of mid flight | 1.52
| Number of steps in mid flight | 5
| Inclination | 30.63
| Slant length of the flight | 1.77
For First Flight and Third Flight
| Volume of Concrete | 1.3766
| Total Dead Load | 34.4143
| Dead Load Per Width | 17.8312
| Live Load | 3
| Live load per width | 12.045
| Floor finish | 1
| Floor finish per width | 4.015
| Total load per width | 33.8912
| Live load on each beam | 16.9456
For Mid Flight
| Volume of Concrete | 1.2854
| Total Dead Load | 32.1345
| Dead Load Per Width | 16.65
| Live Load | 3
| Live load per width | 11.1
| Floor finish | 1
| Floor finish per width | 3.7
| Total load per width | 31.45
| Live load on each beam | 15.725